Before the Federal Energy Regulatory Commission

#### Application for Preliminary Permit

for the

### P4 Dam Retrofit Project

At the P4 Diversion Dam

On the Pit River

Trinity County, California

March 6, 2004

## Davis Hydro, LLC

Prepared By:

Richard D. Ely, Principal

27264 Meadowbrook Drive, Davis ,California  95616    530 753-8854   Fax 530 753-4707

4.32  (a.1) Owner of the Dam: PG&E  - a domestic corporation:

Office of the Director, Hydropower Generation

Attn: Mr. Mr. Randy Livingston  , Director

245 Market Street, San Francisco, California 94105

(a.2.i) Trinity county:  Kelly Frost, Deputy Clerk of the Board of Supervisors

PO Box 1613

101 Court St.
 Weaverville,  CA 96093

The following additional service list will be addressed for this permit:

Mr, James Goris, Regional Director

Project 233, FERC Coordinator

Federal Energy Regulatory Commission, Suite 350

901 Market Street, San Francisco, CA 94103

A courtesy copy will be filed on Plumas National Forest, 159 Lawrence Street, Box 11599, Quincy, California 95971.  Others as requested by the FERC.

a.2.ii – Towns with population greater than 5,000 in 15 miles:  None

a.2.iii – Irrigation districts, etc.  None

a.2.iv – Other political subdivisions affected :  None

a.2.v  – Indian Tribes:  None known

a.4.ii : This Preliminary Permit application is executed in the state of California, County of Yolo by: Richard D. Ely, 27264 Meadowbrook Drive, Davis, CA. 95616. Being duly sworn, deposes and says that the contents of this application are true to the best of his knowledge or belief.  The undersigned applicant has signed the application

This ___________ day of ___________, 2004.

By ____________________________________

Richard D. Ely, President Davis Hydro

Subscribed and sworn to before me, a Notary Public of the state of California this  __________  _ day of ___________, 2000.

Seal                                       ____________________________________

Before the Federal Energy Regulatory Commission

Application for Preliminary Permit

(1) Davis Hydro applies to the Federal Energy Regulatory Commission for a preliminary permit for the proposed Pit 4 Dam Retrofit Project, as described in the attached exhibits.  This application is made in order that the applicant may secure and maintain priority of application for a license for the project under Part I of the Federal Power Act while obtaining the data and performing the acts required to determine the feasibility of the project and to support an application for a license.

(2) The location of the proposed project is:

State or territory:  ___	California______________________________

County:___	Shasta________________

Township or nearby town:__Burney _

Stream or other body of water:___Pit  River_____

_______________________________________________________________________

(3) The exact name, business address, and telephone number of the applicant are:

_____       Davis Hydro, a Limited Liability Company _____________________

________27264 Meadowbrook Drive, Davis, California, 95616________

________530 753-8864  // FAX 530 753-4704   //   E-mail  hydro@davis.com______

The exact name and business address of each person authorized to act

as agent for the applicant in this application are:

_______________Richard D. Ely, III _________________________________

_______________27254 Meadowbrook Drive___________________________

_______________Davis, CA  95616 ___________________________________

________530 753-8864  // FAX 530 753-4704   //   E-mail  hydro@davis.com______

(4) Davis Hydro LLC is a limited liability company and is not claiming preference under section 7(a) of the Federal Power Act.

(5) The proposed term of the requested permit is 36 months

(6) The Pit 4 dam is owned by the Pacific Gas and Electric Company, 123 Mission Street, San Francisco, CA. 94105.  This dam is a central element of FERC project 233 currently before the FERC for relicensing.

(b) Exhibit 1   A description of the proposed project:

Existing:  Structures

The project is located at the Pit 4 Diversion Dam.  The dam is shown on the Exhibit 4 is  listed in FERC license 233, commonly called the Pit 4 Dam or the Pit 4 Diversion Dam

Located in Sierra County about 8 miles NW of Burney at 40° 59’ 18” N,  121° 46’ 04” W.  The dam has a physical composition and description described in PG&E Exhibits F-11, F-12, and F-13 of the Project 233 License application presently before you.  The dam has recently been reconditioned.  These improvements are best seen in PG&E’s drawings 376448, 376449, and 3764450, 3764451.  Pit 4 Dam is was constructed in 1927 and it a concrete structure consisting of a 37 feet non-overflow section, at the right abutment, a 213 foot concrete gravity spillway section, and a 197 foot slab and buttress section at the left abutment.  The concrete gravity spillway section is 78 feet in height from bedrock to spillcrest elevation on 2048 and 108 feet to the current dam crest elevation of 2,438.5 feet elevation (NGVD).  The spillway is controlled by two drum gates that can raise the reservoir elevation level 14.5 feet to a normal maximum reservoir elevation of 2422.5 feet.

The slab and buttress section is 202 feet long and has a height of 58 feet to a crest elevation of 2445.33 feet.  The buttresses are spaced on 18 foot centers.

Dam based releases to the river are currently made through 7’ wide by 7’ high low level sluice gates in the gravity spillway section.  The dam also has a 42” diameter outlet at the right abutment for release of minimum flow.

The primary reservoir outlet is a 19 foot diameter power tunnel located 75 feet upstream on the right bank through which is diverted water to the downstream powerhouse to historically provide 564 GWH of generation annually.

Reference is made to the current application for a new license for FERC Project 233.

(b.2) There is one impoundment related to this application, the Pit 4 Reservoir.  It is an 105 acre reservoir at 2,422.5 elevation.  The storage capacity is 1,970 acre-feet at historic maximum surface elevation of 2,422.5 feet and the drainage area is 4,643 square miles.  No changes of any kind are proposed to this reservoir by our project although it is expected to have changes made due to new requirements under 233 licensing conditions.

(b.3) There is one proposed transmission line to the  PG&E12 kW distribution line in immediate area at the North side of the dam.  The new proposed generation at the site would be at 2,400 volts and would be transformed to appropriate primary voltage or 12 kW at the site.  The new line proposed line extended distance would be about 320 feet  basically crossing the dam. .

(4) The total estimated average annual energy production and installed capacity

49.5 feet of head (median tailwater)

350 cfs max flow

One generator would be used with a total capacity of 1,200 kW at 50 feet of net head (max)  Average annual production would be 9.6 GWH.  The turbines and generator are proposed as new.  None exist.

Table 1    Proposed Turbines and Generators

| Generator | CFS @ | Design Head (feet) | KW ( | KW Capacity |
| --- | --- | --- | --- | --- |
| #1 | 410 cfs | 50’ | 1.25 MW | 1.25 |

The capacity of the site is limited by head and flow determined entirely by PG&E operation under FERC license 233 or a new sequent.  This will be a run-of-river operation on whatever flow PG&E or future licensee is required to release.

(b.5) No lands of the United States are enclosed within the proposed project boundary as this project is entirely contained on PG&E’s Pit 4 Site as shown on their current Exhibit G-9 under Project 233.

(b.6) The proposed project would develop, conserve, and utilize in the public interest the water resources of the region.  This is a simple dam based release power recovery project.  It would use the required run-of-river dam based release for power production.  No change in flow, or rate change of flow, will be requested or expected.  This generation will lessen the need for fossil generation in the Western US.

This application is for additional capacity at the already licensed FERC Project 233.  The project will be constructed as not to impact Project 233.

(c) Exhibit 2 is a description of studies conducted or to be conducted.

(c.1.i) There are two studies known to be required and others may added by agencies and PG&E.  Currently, the site is the subject of intense study for the Licensing of Project 233.  These studies are some of the most extensive environmental analyses ever done for a small power project.

- PG&E interconnection study.  This will be done in cooperation with PG&E which owns all transmission (a distribution line) in the area.

- Engineering feasibility study.  We will work with PG&E engineering to determine their requirements to use their dam.  The project economics are completely determined by what is required by PG&E.

- Environmental studies required by review agencies.  These will be determined when consultation starts.

c.1.ii Roads:   This will not require any new roads.  A river ford or temporary bridge immediately below the dam will be studied for possible use to ferry materials from an existing borrow area below the dam on the right side to the powerhouse site on the left side.  Since the transmission line is at the dam, all work on the dam or in the immediate vicinity below the dam.

c.2  No new dam will be required.

(d) Exhibit 3  Financing

(d.1) The cost of the PG&E interconnection study is estimated by PG&E at $ 3,000 per megawatt or about $ 3,600.

The cost of the engineering feasibility study is $ 15,000.

Any additional environmental studies will be undertaken as required during the consultation process and paid for from personal resources.  Personal resources exceed expected required study costs.

(d.2) Private sources will supply all financing needed by the applicant to carry out or prepare the studies, under paragraph (c) of this section.  This feasibility study is essentially complete at this time.

(3.i) The California green power market is a proposed market for the power generated at the project.  Proposed purchasers of the power will be the green power market in California.  DOE, NCPA, the City of Davis, and the Los Angeles Public Works Department have shown interest.  They along with most California  IOUs have or will be issuing RFPs for this type of power.  We expect to be able to obtain $ 50/ MWh with green power subsidies.

(e) Exhibit 4:

Enclosed as a separate sheet.

Note 1: Reference is made to the Pit 4 dam in FERC 233 license application currently before you.  Please refer to figures F-11, F-12, F-13, and G-9.  This project is on, in, and just downstream of the left buttress wing wall of the Pit 4 dam.

Note 2: The Shasta National Forest surrounds the entire project.

(e.4) The Pit River is not included in the National Wild and Scenic Rivers System.

(e.5) There are no wilderness areas, designated wilderness areas, nor wilderness study areas in the vicinity of the project boundary.